WBADMI PROJECT

Tube well construction OK card for use by WUA

| Name of the Scheme: |  | Survey No: |  |
| --- | --- | --- | --- |
| Name of WUA : |  | GPS coordinate of the scheme |  |
| WUA Office Bearers: |  | OK card filled on |  |
| WUA members: |  | No of Members Present |  |

OK card for use by   WUA using hand

| ACTIVITY |  | DONE | NOT DONE | SAW WHEN IT WAS DONE | ONLY HEARD | RESULTSSHARED | RESULT NOT SHARED | Quality of material/ work good | Quality of material/ work could have been better | Quality of material/ work poor | TOTAL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site selection adopting electrical resistivity survey |  |  |  |  |  |  |  |  |  |  |  |
| Water quality from existing wells tested |  |  |  |  |  |  |  |  |  |  |  |
| Display Board installed while work is going on |  |  |  |  |  |  |  |  |  |  |  |
| Drilling – is done at the identified location |  |  |  |  |  |  |  |  |  |  |  |
| Drilling is completed to depth as told to WUA |  |  |  |  |  |  |  |  |  |  |  |
| Drilling samples collected and laid out systematically for studying it |  |  |  |  |  |  |  |  |  |  |  |
| Electrical logging was carried out before lowering of casing pipes and screens |  |  |  |  |  |  |  |  |  |  |  |
| Do you know how many casing pipes were lowered into the well |  |  |  |  |  |  |  |  |  |  |  |
| Do you know how many screens were lowered into the well |  |  |  |  |  |  |  |  |  |  |  |
| Do you know how many water bearing zones were met with during drilling |  |  |  |  |  |  |  |  |  |  |  |
| Was gravel pack done in the well and what quantity was used |  |  |  |  |  |  |  |  |  |  |  |
| Was Cleaning of the well (Development) done |  |  |  |  |  |  |  |  |  |  |  |
| Did y see and taste the water that came after cleaning |  |  |  |  |  |  |  |  |  |  |  |
| Was the well tested using pump |  |  |  |  |  |  |  |  |  |  |  |
| Did u see the water flowing from the well during pump test |  |  |  |  |  |  |  |  |  |  |  |
| Do you know the discharge from bore well based on pump test |  |  |  |  |  |  |  |  |  |  |  |
| Has the submersible pump been installed in the well |  |  |  |  |  |  |  |  |  |  |  |
| has the electrical connection obtained |  |  |  |  |  |  |  |  |  |  |  |
| Has the storage reservoir been completed |  |  |  |  |  |  |  |  |  |  |  |
| Has the drainage pipe line been laid |  |  |  |  |  |  |  |  |  |  |  |
| Has the command area been defined |  |  |  |  |  |  |  |  |  |  |  |
| Total |  |  |  |  |  |  |  |  |  |  |  |

Typical Appearance of OK card screen on iPad

Touch screen data entry

Facility to record the OD card data collection, photograph/Video structure, attach press cuttings, meeting resolutions etc.

Storage of information in the data base (backend)

| ACTIVITY | DONE | NOT DONE | SAW WHEN IT WAS DONE | ONLY HEARD | RESULT SHARED | RESULT NOT SHARED | Quality of material/ work good | Quality of material/ work could have been better | Quality of material/ work poor | TOTAL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site selection adopting electrical resistivity survey | 1 | 0 | 1+2 | 1+1 | 1+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Water quality from existing wells tested | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Display Board installed while work is going on | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Drilling – is done at the identified location | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Drilling is completed to depth as told to WUA | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Drilling samples collected and laid out systematically for studying it | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Electro logging was carried out before lowering of casing pipes and screens | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Do you know how many casing pipes were lowered into the well | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Do you know how many screens were lowered into the well | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Do you know how many water bearing zones were met with during drilling | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Was gravel pack done in the well and what quantity was used | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Was Cleaning of the well (Development) done | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Did y see and taste the water that came after cleaning | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Was the well tested using pump | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Did u see the water flowing from the well during pump test | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Do you know the discharge from bore well based on pump test | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Has the submersible pump been installed in the well | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| has the electrical connection obtained | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Has the storage reservoir been completed | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Has the drainage pipe line been laid | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Has the command area been defined | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
|  | 1 | 0 | 1+2 | 1+1 | !+2+2 | 1+2+0 | 1+2+2+5 | 1+2+2+3 | 1+2+2+2 |  |
| Total |  |  |  |  |  |  |  |  |  |  |

Grading of scheme tube well construction as per Community Perception

| GRADE | RATINGS |
| --- | --- |
| Excellent :85-100% | Materials / construction good |
|  | Activities carried out : 85-100% |
|  | Activities Seen : 85-100% |
|  | Activities results shared : 85-100% |
| good :70-84%% | Materials / construction good |
|  | Activities carried out :70-84% |
|  | Activities Seen : 70-84% |
|  | Activities results shared :70-84% |
| Fair:60-69% | Materials / construction could have been better |
|  | Activities carried out :60-69% |
|  | Activities Seen : 60-69% |
|  | Activities results shared :60-69% |
| Poor:<60 | Materials / construction poor |
|  | Activities carried out :<60% |
|  | Activities Seen : <60% |
|  | Activities results shared :<60% |